BELLE REALTY OF LAFAYETTE, LLC

101–149 Arnould Blvd.  ·  Lafayette, Louisiana 70506  ·  337-769-1554  ·  adam@belle-realty.com

[Date]

VIA EMAIL

Parish Lettering, LLC d/b/a Greek Expressions

Attn: Nicole Trahan, Authorized Representative

205 Pomerol Place

Lafayette, Louisiana 70503

Re:  Conditional Sign Approval — Suite 137, On The Boulevard Shopping Center, 137 Arnould Blvd., Lafayette, LA 70506

Sign package: Sign Design Pros, “Channel Letters on Raceways,” dated 7/6/2026 (one sheet); Perfect Fitz Estimate No. 15559

Ms. Trahan:

Lessor has reviewed the above sign package against the Lease dated September 25, 2025 and effective October 1, 2025, including Section 12.01, Section 37.01, Schedule C (Rules and Regulations), and Schedule D (Design Criteria for Lessee Signs). Pursuant to Schedule D, Lessor returns one set herewith with its approval and its suggested modifications. Approval is conditional as set out below.

1. Approved as submitted. Sign location on the front exterior wall of the Premises above the front canopy, consistent with Section 12.01; lettering length of 93.22″ against approximately 360″ of Premises frontage, within the eighty percent (80%) maximum; raceway dimensions of 3.5″ × 3″, within the eight (8″) inch width and eight (8″) inch depth maximum; .040 prefinished aluminum dark bronze returns with .063 backs; acrylic faces with cast translucent vinyl; UL listing and disconnect switch; absence of flashing, moving, or audible elements. Sign area of 20.7 SF is within the ordinance maximum.

2. Variances granted. Lessor grants written variance from Schedule D for the following five items only:

(a) 
      Fabrication by Sign Design Pros and Perfect Fitz (School Time Silk Screening) in lieu of Universal Sign Company, conditioned upon delivery to Lessor, before any work is performed at the Shopping Center, of a certificate of insurance evidencing commercial general liability and workers’ compensation coverage and naming Belle Realty of Lafayette, LLC as additional insured;

(b) 
      Hanley .75W white LED light modules in lieu of single 12mm white neon;

(c) 
      3″ channel depth in lieu of five and one-half (5½″) inches;

(d) 
      1″ dark bronze trimcap in lieu of 1″ Jewelite gold trim cap; and

(e) 
      plex-face cabinet construction with white border reveal, including the two laurel elements and the routed banner reading “AT THE MONOGRAM SHOP,” notwithstanding Schedule D’s requirement of individual channel illuminated letters and its limitation of cabinets to the store identity name.

Each variance is granted for this installation only, is personal to Lessee, and is neither an amendment to Schedule D nor a precedent. No variance extends to any other sign, any other tenant, or any future replacement, reface, or relamping of this sign. Under-canopy walkway signage, if ever proposed, remains subject to Section 12.01 and must be erected by Hubbard Sign Company.

3. Required modifications; resubmittal. Lessee shall cause the drawing to be revised and resubmitted as follows:

(a) Conflicting dimensions. The sheet states two different sizes for the same sign: 93.22″ W × 32″ H with a 43.66″ banner and 20.7 SF in the day elevation, and 91.77″ W × 37.27″ H with a 56″ banner in the night view, which computes to approximately 23.75 SF. Reconcile to a single elevation and a single stated area, and use that area in the permit application.

(b) Letter height. Schedule D limits letters to twenty-six (26″) inches in height. No letter height is dimensioned anywhere on the sheet. Add dimensioned heights for the tallest lettering in each line.

(c) Corner clearance. No letters shall be nearer than two (2′) feet to either corner of the Premises. Add dimensioned offsets from both corners to the storefront elevation.

(d) Illumination control. Schedule D requires signs to turn on automatically at dusk and off at 12:00 midnight each day, and Schedule C separately requires that an illuminated sign be lighted from dusk, adjusted for seasonal changes, and remain lighted until midnight. The sheet shows only a disconnect switch and power supply. Add a photocell together with a timer or astronomical time clock, and note the control scheme on the drawing.

(e) Raceway color. The front view specifies Benjamin Moore OC-19 Seapearl; the side view states “RACEWAY COLOR TBD.” Reconcile. Schedule D requires the raceway to be painted the same color as the building fascia to which it is attached. OC-19 is accepted only upon the manufacturer’s written confirmation that it matches the existing painted masonry at the mounting location; absent that confirmation, the raceway shall be field-matched.

(f) Masonry attachment. The mounting substrate is painted brick, not wood fascia. Provide the anchor type and pattern appropriate to that substrate, show all penetrations as thru-wall, and note the weatherproofing method at each penetration.

(g) Electrical. The sheet states that Lessee is responsible for running power to the sign location. Confirmed: that work is at Lessee’s cost, shall be connected to Lessee’s meter only, and constitutes an alteration requiring seven (7) days’ prior written notice to Lessor under Section 10.01 before commencement.

4. Rear door identification — outstanding obligation. Schedule C requires Lessee to cause its name and address to be placed on the rear door of the Premises and, at Lessee’s expense, to provide security lighting at or about the rear door that remains illuminated all night, every night. The submitted package contains no rear door element. Submit the rear door copy and the security lighting arrangement with the corrected set.

5. Door and window lettering. Schedule D limits lettering on doors, windows, and show windows to six (6″) inches in height and prohibits its illumination. Lessor notes existing vinyl in the storefront glass that is not part of this submittal. Confirm in writing that all existing and proposed door and window copy complies with the six-inch limit, or revise it accordingly.

6. Installation conditions. No installation shall commence prior to Lessor’s final written approval of the corrected drawing and issuance of the municipal sign permit. All penetrations shall be thru-wall and weatherproofed. Lessee is responsible for repair and restoration of the brick, mortar, and paint upon removal. Pursuant to Section 12.01, upon termination of the tenancy Lessee shall remove the sign and repair any damage or injury caused by such removal, using the contractor designated by Lessor to repair such damage; if Lessee does not remove the sign, Lessor may remove it and the cost shall be considered rent due.

7. Permit and owner authorization. Lessee is responsible for obtaining the municipal sign permit at Lessee’s cost. If the fabricator requires a property owner authorization form, Lessor will execute it upon Lessor’s written approval of the corrected drawing, and such execution will authorize the permit application for the layout as revised and approved only. Lessor does not certify the content of the applicant’s permit application.

8. Reservation of rights. This letter constitutes Lessor’s set returned with suggested modifications under Schedule D. Nothing herein amends the Lease, Schedule C, or Schedule D, waives any requirement not expressly varied in Paragraph 2, or constitutes approval of Lessee’s plans and specifications for space improvement work. Lessor reserves all rights and remedies, including its rights under Schedule D with respect to signs placed or erected without prior written approval and its right to reimbursement of removal costs as rent.

Sincerely,

Belle Realty of Lafayette, LLC

By its authorized property manager, Orange Ocean, LLC

________________________________

Adam Anthony Abdalla

Authorized Representative

cc:  Sign Design Pros — Wes@SignDesignPros.com

Enclosures:  Sign Design Pros sheet dated 7/6/2026, marked; Schedule C; Schedule D